|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Account number | PO number | Date Required | Date | Page 1 of  |
|  |  |  |  |  |

|  |
| --- |
| **Word Header.jpgKEY INTERLOCKING**A Division of Performance Innovations Ltd.108 - 7073 Venture Street , Delta,British Columbia Canada, V4G 1H8Tel: 604-940-0068 Fax: 604-940-1047www.keyinterlocking.comEmail: sales@keyinterlocking.com |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Bill to |  | Ship to |  |  | Purchasing Agents Name |  | End User |
|  |  |  |  | Name |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  | Phone  |  |  |  |
|  |  |  |  | Fax # |  |  |  |

|  |
| --- |
| Ordering Guide |
| A. Lock Type | B. # of Cylinders | C. Plunger lengthIn withdrawn position | D. Bolt  Orientation | E. Key Removable Position  | F. # of Cylinders “W” for Multiple Cylinders | G. Options | H. Key Interchange |
| VF -flat mountVB -base mountVD -door mountVN -narrow mountVT -transfer blockVC -camlockCM -cylinder mountVP - padlock | 1-9 for up to 9 cylinders.Use A for 10 B for 11 C for 12 D for 13 E for 14 F for 15  | 000025037050062075100125137150200300 | 0” 0mm1/4” 6.4mm3/8” 9.5mm1/2” 12.7mm5/8” 15.8mm3/4 19.1mm1” 25.4mm1-1/4” 31.7mm1-3/8” 34.9mm1-1/2” 38.1mm2” 50.8mm3” 76.2mm | L (bolt left) orR (bolt right)Example L_B.jpg | For single cylinder locks, key can be removable “E” (extended) or“W“ (withdrawn)For multi cylinder locks “E” (extended)Multi cylinder locks always begin with first cylinder “E” | -Leave blank for single Cylinder locks.-For multiple cylinder locks list the number of “W” (withdrawn) cylinders-Multi cylinder locks always begin with first cylinder “E” Examples of three cylinder locksEEE select 0 for 0 withdrawnEEW select 1 for 1 withdrawnEWW select 2 for 2 withdrawA for 10 , B for 11 etc. | S Switch 1no 1ncD Dust cover5DC .500 Door Catch25DC .250 Door CatchADP VD Adapter RP Roll Pin  | ExamplesA1A2B1B2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|   | Part Number |  |  |  |  |
| Item# | Qty | A | B | C | D | E | F | G | HKey Interchange | Remarks  | Unit Price  | Amount |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |   |  |  |
| 5 |  |  |  |  |  |  |  |  |  |   |  |  |
| 6 |  |  |  |  |  |  |  |  |  |   |  |  |
| 7 |  |  |  |  |  |  |  |  |  |   |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|   | Part Number |  |  | Page 2 of 2 |
| Item# | Qty | A | B | C | D | E | F | G | HKey Interchange | Remarks  | Unit Price  | Amount |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 |  |  |  |  |  |  |  |  |  |  |  |  |
| 38 |  |  |  |  |  |  |  |  |  |  |  |  |
| 39 |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  |  |  |  |  |  |  |  |  |  |  |  |